## BOM OF MATERIALS
Exertis Quotation
Quote Reference: | LIC-C9300-24E-1Y
Quote Number: | DID 82669114
Date: | 2026-01-25
Expiry Date: | 2026-03-23
Customer: | Electric-petrol
Item | Description | Manufacturer | Make | Model | Net Price Each (€) | VAT % | VAT Amount (€) | Gross (Each) (€) | Qty | Total (Gross) (€) | Margin % | Profit (€) | Customer Price (€)
1 | 19" Wall Cabinet (12U) incl. accessories | Generic | Wallmount | 12U Ventilated | 850 | 23% | 195.5 | 1045.5 | 2 | 2091 | 25% | 522.75 | 2613.75
2 | Uninterruptable Power Supply (UPS) | APC | Smart-UPS | SMT1500 | 650 | 23% | 149.5 | 799.5 | 2 | 1599 | 20% | 319.8 | 1918.8
3 | Power Distribution Unit (PDU) 8-way | APC | Rack PDU | Basic 8-way | 120 | 23% | 27.6 | 147.6 | 2 | 295.2 | 20% | 59.04 | 354.24
4 | ISP Modem / ONT | ISP | Provider | Model per ISP | – | 23% |  |  | 2 |  | 0%
5 | Firewall (branch) | Fortinet | FortiGate | 60F (or equiv.) | 750 | 23% | 172.5 | 922.5 | 1 | 922.5 | 25% | 230.625 | 1153.125
6 | Patch Panel Cat6 24-port | Generic | Cat6 | 24-port | 85 | 23% | 19.55 | 104.55 | 4 | 418.2 | 25% | 104.55 | 522.75
7 | Cat6 Keystone Jacks (tool-less) | Generic | Cat6 | RJ45 Keystone | 3.5 | 23% | 0.805 | 4.305 | 95 | 408.975 | 25% | 102.2437 | 511.2187
8 | Faceplates / Backboxes (single/double) | Generic | Wallplate | 1–2 gang | 2.5 | 23% | 0.575 | 3.075 | 95 | 292.125 | 25% | 73.0312 | 365.1562
9 | Cat6A U/UTP Bulk Cable 305m box | Generic | Cat6A | 305m | 155 | 23% | 35.65 | 190.65 | 12 | 2287.8 | 20% | 457.56 | 2745.36
10 | Cat6 Patch Cords 2m (rack) | Generic | Cat6 | 2m | 4 | 23% | 0.92 | 4.92 | 120 | 590.4 | 20% | 118.08 | 708.48
11 | Cat6 Patch Cords 3m (user) | Generic | Cat6 | 3m | 5 | 23% | 1.15 | 6.15 | 95 | 584.25 | 25% | 146.0625 | 730.3125
12 | Access Switch 48-port PoE+ (floor) | Cisco | Catalyst | 9200-48P-4G | 1800 | 23% | 414 | 2214 | 2 | 4428 | 20% | 885.6 | 5313.6
13 | Access Switch 24-port PoE+ | Cisco | Catalyst | 9200-24P-4G | 1350 | 23% | 310.5 | 1660.5 | 4 | 6642 | 20% | 1328.4 | 7970.4
14 | Racks/Power/Extenders (as specified) | Generic | Ethernet | 1GbE | 90 | 23% | 20.7 | 110.7 | 3 | 332.1 | 25% | 83.025 | 415.125
15 | Wireless Access Point (hardware) | Ubiquiti | UniFi | U6-LR | 170 | 23% | 39.1 | 209.1 | 5 | 1045.5 | 25% | 261.375 | 1306.875
16 | CCTV Camera (PoE) – internal | Hikvision | Dome | 2MP/4MP PoE | 120 | 23% | 27.6 | 147.6 | 1 | 147.6 | 25% | 36.9 | 184.5
17 | Fiber Backbone Cable OM4 12-core | Generic | OM4 | 12-core | 2.2 | 23% | 0.506 | 2.706 | 120 | 324.72 | 20% | 64.944 | 389.664
18 | Fiber Patch Panel / Enclosure (LC) | Generic | Fiber Panel | 24 LC | 120 | 23% | 27.6 | 147.6 | 2 | 295.2 | 20% | 59.04 | 354.24
19 | LC Duplex Pigtails | Generic | OM4 | LC | 4.5 | 23% | 1.035 | 5.535 | 24 | 132.84 | 25% | 33.21 | 166.05
20 | LC-LC Duplex Patch Leads 2m | Generic | OM4 | LC-LC 2m | 6 | 23% | 1.38 | 7.38 | 6 | 44.28 | 25% | 11.07 | 55.35
21 | SFP/SFP+ Transceivers (MM) | Cisco/Generic | SFP | 1G/10G MM | 65 | 23% | 14.95 | 79.95 | 6 | 479.7 | 25% | 119.925 | 599.625
22 | Containment: Basket tray / trunking | Generic | Cable Tray | 100mm | 18 | 23% | 4.14 | 22.14 | 120 | 2656.8 | 20% | 531.36 | 3188.16
23 | Consumables: labels, Velcro, fixings | Generic | Install | Consumables | 7.5 | 23% | 1.725 | 9.225 | 12 | 110.7 | 20% | 22.14 | 132.84
24 | Labour – Installers (per hour) | N/A | Labour | Installer | 50 | 13.5% | 6.75 | 61.5 | 32 | 1968 | 10% | 196.8 | 2164.8
25 | Labour – Consultant/Design (per hour) | N/A | Labour | Consultant | 110 | 13.5% | 14.85 | 135.3 | 8 | 1082.4 | 30% | 324.72 | 1407.12
[8 empty] | Totals |  | 29179.29 |  | 6092.2515 | 35271.5415